SM 4500 ClO2 E Amperometric Method

Titrator model / Id # __________________				Titrant Used:                                                    N__________________

Standardization Date:___________________

| Date | Time | Sample Id / location | Sample size (mL) | ResCl + 1/5 ClO2 mL titrant/mL sample (A) | 4/5 ClO2 + Chlorite mL titrant/mL sample (B) | Nitrogen gas purge time | Non-volatilized chlorine mL titrant/mL sample (C) | Chlorite (ClO2) (continue w/ C) mL titrant/mL sample (D) | Chlorite mg/L | Chlorine Dioxide mg/L | Chlorine mg/L | Analyst Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Where:	A = mL titrant/mL sample

B = mL titrant/mL sample

C = mL titrant/mL sample

D = mL titrant/mL sample

N = normality

Calculations:	Chlorite, mg ClO2-/L = D x N x 16863

Chlorine Dioxide, mg ClO2/L = (5/4) x (B – D) x N x 13490

Chlorine, mg Cl2/L = {A – [(B –D)/4]} x N x 35453

Comments________________________________________________________________________________________________________

________________________________________________________________________________________________________________________________________________________________________________________________________________________________