________________________________________________

# Laboratory Name

# Total Coliform/E.coli SM 9223B-2004 Colilert Quanti-Tray 2000

Incubator Id #_____________								                          Colilert Media Lot #:________________

Analyst Initials Set-up:________________								Media Expiration Date:______________

Set-up Date /Time:____________________								Sample Bottle Lot #:________________

| Sample Information | 1 Total Coliform | 2 E. coli |
| --- | --- | --- |
| Sample ID# (Location) | Sample Volume mL | # Positive Large Wells (yellow color) | # Positive Small Wells (yellow color) | Total Coliform MPN Index | Total Coliform Per 100mL (MPN X DF) | # TC Positive Yellow Large Wells with Fluorescence | # TC Positive Yellow Small Wells with Fluorescence | E.coli MPN Index | 3 E.coli Per 100 mL (MPN X DF) |

Quality Control:

| Sterility (1/week) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Positive Culture (1/week) |  |  |  |  |
| Sealer Check (1/month) | N/A | N/A | N/A |  |

Minimum color/fluorescence comparator (Exp. Date):____________________                              1 Yellow color yields a POSITIVE Total Coliform result

Test Results Recorded By:_________________________                                                                 2 Yellow color & Fluorescence yields a POSITIVE E.coli result

Date/Time Read:_________________________________  				          3 DF = 100 ÷ Sample volume mL